## Sheet1
Pond Size and Shape Calculator (verify designs with continuous models and field verification)
Oct 25, 2003 R. Pitt |  |  | Fill in values highlighted in yellow and don't change the other cells. Examine the orange cells.
Objectives and site information:
| treatment objective: |  | 5 um (about 90% SS)
soil | land use and area: |  | area (acres) | pond surface area (ac) | wet storage volume (ac-ft)
sandy | Totally paved areas |  | 0 | 0 | 0 |  | pond surface area (acres): |  |  | 0.20658 | radius (ft):
sandy | Freeways |  | 0 | 0 | 0 |  | pond wet storage volume (acre-ft): |  |  | 0.64854 | 53.5213
sandy | Industrial |  | 0 | 0 | 0
sandy | Commercial |  | 0 | 0 | 0 |  | pond storage depth (ft) | top surface area (acres) | radius of top area (ft) | average side slope (%)* | max discharge for 5 um (cfs) | max weir length (ft) | max orifice dia (ft) | min surface area (ac) required for v-notch weirs:
sandy | Institutional |  | 0 | 0 | 0 | [8 empty] | 22.5 | 22.5 delta | 30 | 30 delta | 45 | 45 delta | 65 | 60 delta | 90 | 90 delta | 120 | 120 delta
sandy | Low den resid |  | 0 | 0 | 0 |  | 0.25 | 4.9818 | 262.8291 | 0.11944 | 28.2107 | 67.8234 | 1.3524 | 0.0027427 | 4.979 | 0.0037305 | 4.978 | 0.0057116 | 4.976 | 0.0079632 | 4.9738 | 0.013796 | 4.968 | 0.024281 | 4.9575
sandy | Med den resid |  | 0 | 0 | 0 |  | 0.5 | 2.3876 | 181.9541 | 0.38931 | 13.5204 | 11.5839 | 0.78727 | 0.015515 | 2.3721 | 0.021103 | 2.3665 | 0.03231 | 2.3553 | 0.045046 | 2.3425 | 0.078043 | 2.3095 | 0.13736 | 2.2502
sandy | High den resid |  | 0 | 0 | 0 |  | 0.75 | 1.5229 | 145.3158 | 0.81704 | 8.6237 | 4.1371 | 0.56814 | 0.042754 | 1.4801 | 0.058153 | 1.4647 | 0.089035 | 1.4338 | 0.12413 | 1.3987 | 0.21506 | 1.3078 | 0.37851 | 1.1444
sandy | Open space/parks |  | 0 | 0 | 0 |  | 1 | 1.0905 | 122.969 | 1.4399 | 6.1753 | 2.0544 | 0.44741 | 0.087766 | 1.0027 | 0.11938 | 0.97113 | 0.18277 | 0.90773 | 0.25482 | 0.83568 | 0.44148 | 0.64903 | 0.777 | 0.3135
sandy | Construction sites |  | 0 | 0 | 0 |  | 1.5 | 0.65814 | 95.5305 | 3.5706 | 3.7269 | 0.90921 | 0.31407 | 0.24185 | 0.41629 | 0.32896 | 0.32918 | 0.50366 | 0.15448 | 0.7022 | -0.044062 | 1.2166 | -0.55843 | 2.1412 | -1.483
silty | Totally paved areas |  | 6.76 | 0.2028 | 0.61967 |  | 2 | 0.44196 | 78.2843 | 8.0766 | 2.5027 | 0.66572 | 0.23951 | 0.49648 | -0.054516 | 0.67529 | -0.23333 | 1.0339 | -0.59195 | 1.4415 | -0.99952 | 2.4974 | -2.0554 | 4.3954 | -3.9534
silty | Freeways |  | 0 | 0 | 0 |  | 2.5 | 0.31225 | 65.8015 | 20.3579 | 1.7682 | 0.63433 | 0.1904 | 0.86731 | -0.55506 | 1.1797 | -0.86743 | 1.8062 | -1.4939 | 2.5182 | -2.2059 | 4.3627 | -4.0505 | 7.6784 | -7.3662
silty | Industrial |  | 0 | 0 | 0 |  | 3 | 0.22578 | 55.9534 | 123.3513 | 1.2786 | 0.67389 | 0.15469 | 1.3681 | -1.1424 | 1.8609 | -1.6351 | 2.8491 | -2.6233 | 3.9723 | -3.7465 | 6.882 | -6.6562 | 12.1122 | -11.8865
silty | Commercial |  | 0 | 0 | 0 |  | 3.5 | 0.16402 | 47.6897 | -60.0179 | 0.92879 | 0.7426 | 0.12686 | 2.0114 | -1.8474 | 2.7358 | -2.5718 | 4.1887 | -4.0247 | 5.8399 | -5.6759 | 10.1176 | -9.9536 | 17.807 | -17.643
silty | Institutional |  | 0 | 0 | 0 |  | 4 | 0.11769 | 40.3974 | -30.4789 | 0.66646 | 0.82502 | 0.10393 | 2.8085 | -2.6908 | 3.82 | -3.7023 | 5.8487 | -5.731 | 8.1543 | -8.0366 | 14.1273 | -14.0096 | 24.864 | -24.7463
silty | Low den resid |  | 0 | 0 | 0 |  | 4.5 | 0.081661 | 33.6503 | -22.6461 | 0.46243 | 0.91455 | 0.08406 | 3.7701 | -3.6885 | 5.128 | -5.0463 | 7.8513 | -7.7696 | 10.9463 | -10.8646 | 18.9644 | -18.8828 | 33.3774 | -33.2958
silty | Med den resid |  | 0 | 0 | 0 |  | 5 | 0.052837 | 27.0676 | -18.901 | 0.2992 | 1.008 | 0.065859 | 4.9063 | -4.8534 | 6.6733 | -6.6205 | 10.2173 | -10.1644 | 14.2449 | -14.1921 | 24.6794 | -24.6265 | 43.4357 | -43.3828
silty | High den resid |  | 0 | 0 | 0 |  | 6 | 0.0096006 | 11.538 | -14.2914 | 0.054366 | 1.2011 | 0.026822 | 7.7393 | -7.7297 | 10.5267 | -10.5171 | 16.1171 | -16.1075 | 22.4705 | -22.4609 | 38.9302 | -38.9206 | 68.5172 | -68.5076
silty | Open space/parks |  | 0.63 | 0.00378 | 0.028875 |  | 7 | -0.021282 | #NUM! | #NUM! | -0.12052 | 1.398 | #NUM! | 11.3781 | -11.3994 | 15.4761 | -15.4973 | 23.6949 | -23.7161 | 33.0354 | -33.0567 | 57.234 | -57.2553 | 100.7318 | -100.7531
silty | Construction sites |  | 0 | 0 | 0 |  | 8 | -0.044445 | #NUM! | #NUM! | -0.25168 | 1.5967 | #NUM! | 15.8873 | -15.9317 | 21.6093 | -21.6537 | 33.0852 | -33.1297 | 46.1275 | -46.172 | 79.916 | -79.9604 | 140.6522 | -140.6966
clayey | Totally paved areas |  | 0 | 0 | 0 |  | 9 | -0.06246 | #NUM! | #NUM! | -0.3537 | 1.7961 | #NUM! | 21.3271 | -21.3895 | 29.0083 | -29.0707 | 44.4135 | -44.476 | 61.9215 | -61.9839 | 107.2791 | -107.3415 | 188.8112 | -188.8736
clayey | Freeways |  | 0 | 0 | 0 |  | 10 | -0.076872 | #NUM! | #NUM! | -0.43531 | 1.9959 | #NUM! | 27.754 | -27.8308 | 37.7499 | -37.8267 | 57.7975 | -57.8744 | 80.5815 | -80.6583 | 139.6075 | -139.6844 | 245.7092 | -245.7861
clayey | Industrial |  | 0 | 0 | 0
clayey | Commercial |  | 0 | 0 | 0 |  | The "best" pond is usually the one having the smallest top surface area (and therefore least cost) that meets the following side slope criterion:
clayey | Institutional |  | 0 | 0 | 0 |  | * the pond side slopes should be in the range of about 10 to 25% (steep enough to provide good drainage, but not so steep to cause potential safety problems).
clayey | Low den resid |  | 0 | 0 | 0 |  | (negative side sopes may be calculated, indicating that the top surface area is smaller than the normal surface area. Obviously, these are not suitable pond configurations).
clayey | Med den resid |  | 0 | 0 | 0 |  | If a tank, the slope is obviously infinite and the "pond" top and bottom surface areas would be the same.
clayey | High den resid |  | 0 | 0 | 0 |  | The outlet device controls the discharge rate and is selected to provide the necessary particle size control. These calculations are based on 5 um particle size controls, corresponding to about a 90% suspended solids control.
clayey | Open space/parks |  | 0 | 0 | 0
clayey | Construction sites |  | 0 | 0 | 0
The device that should be selected must meet the surface overflow rate objective (the ratio of the pond discharge to the pond surface area).
|  | Total: | 7.39 | 0.20658 | 0.64854
The rectangular weir and the orifice calculations show the size of these devices needed to meet this objective. The V-notch weir calculations show the minimum surface area needed to meed this objective. Select the device that is shown to most closely match the pond shape.
The "delta" columns show the excess areas in the pond designs that meet these objectives. The V-notch weirs having a delta closest to zero (but still positive) and meets the slope criterion, is likely the best selection.
Objectives and site information:
| treatment objective: |  | 20 um (about 65% SS)
soil | land use and area: |  | area (acres) | pond surface area (ac) | wet storage volume (ac-ft)
sandy | Totally paved areas |  | 1 | 0.011 | 0.030556 |  | pond surface area (acres): |  |  | 0.011 | radius (ft):
sandy | Freeways |  | 0 | 0 | 0 |  | pond wet storage volume (acre-ft): |  |  | 0.030556 | 12.3503
sandy | Industrial |  | 0 | 0 | 0
sandy | Commercial |  | 0 | 0 | 0 |  | pond storage depth (ft) | top surface area (acres) | radius of top area (ft) | average side slope (%)* | max discharge for 20 um (cfs) | max weir length (ft) | max orifice dia (ft) | min surface area (ac) required for v-notch weirs:
sandy | Institutional |  | 0 | 0 | 0 | [8 empty] | 22.5 | 22.5 delta | 30 | 30 delta | 45 | 45 delta | 65 | 65 delta | 90 | 90 delta | 120 | 120 delta
sandy | Low den resid |  | 0 | 0 | 0 |  | 0.25 | 0.037864 | 22.9139 | 2.3666 | 3.2988 | 7.9749 | 0.46245 | 0.00017827 | 0.037686 | 0.00024248 | 0.037622 | 0.00037126 | 0.037493 | 0.00045009 | 0.037414 | 0.00089675 | 0.036968 | 0.0015783 | 0.036286
sandy | Med den resid |  | 0 | 0 | 0 |  | 0.5 | -0.084358 | #NUM! | #NUM! | -7.3492 | -6.1423 | #NUM! | 0.0010085 | -0.085366 | 0.0013717 | -0.085729 | 0.0021001 | -0.086458 | 0.0025461 | -0.086904 | 0.0050728 | -0.089431 | 0.0089281 | -0.093286
sandy | High den resid |  | 0 | 0 | 0 |  | 0.75 | -0.1251 | #NUM! | #NUM! | -10.8986 | -4.8889 | #NUM! | 0.002779 | -0.12788 | 0.0037799 | -0.12888 | 0.0057873 | -0.13089 | 0.0070162 | -0.13211 | 0.013979 | -0.13908 | 0.024603 | -0.1497
sandy | Open space/parks |  | 0 | 0 | 0 |  | 1 | -0.14547 | #NUM! | #NUM! | -12.6732 | -3.6058 | #NUM! | 0.0057048 | -0.15117 | 0.0077594 | -0.15323 | 0.01188 | -0.15735 | 0.014403 | -0.15987 | 0.028696 | -0.17416 | 0.050505 | -0.19597
sandy | Construction sites |  | 0 | 0 | 0 |  | 1.5 | -0.16584 | #NUM! | #NUM! | -14.4479 | -2.0617 | #NUM! | 0.015721 | -0.18156 | 0.021382 | -0.18722 | 0.032738 | -0.19858 | 0.03969 | -0.20553 | 0.079077 | -0.24492 | 0.13918 | -0.30501
silty | Totally paved areas |  | 0 | 0 | 0 |  | 2 | -0.17602 | #NUM! | #NUM! | -15.3352 | -1.2282 | #NUM! | 0.032271 | -0.2083 | 0.043894 | -0.21992 | 0.067204 | -0.24323 | 0.081475 | -0.2575 | 0.16233 | -0.33835 | 0.2857 | -0.46172
silty | Freeways |  | 0 | 0 | 0 |  | 2.5 | -0.18214 | #NUM! | #NUM! | -15.8676 | -0.70548 | #NUM! | 0.056375 | -0.23851 | 0.076679 | -0.25881 | 0.1174 | -0.29954 | 0.14233 | -0.32447 | 0.28358 | -0.46571 | 0.4991 | -0.68123
silty | Industrial |  | 0 | 0 | 0 |  | 3 | -0.18621 | #NUM! | #NUM! | -16.2226 | -0.33755 | #NUM! | 0.088929 | -0.27514 | 0.12096 | -0.30717 | 0.18519 | -0.3714 | 0.22452 | -0.41073 | 0.44733 | -0.63354 | 0.7873 | -0.97351
silty | Commercial |  | 0 | 0 | 0 |  | 3.5 | -0.18912 | #NUM! | #NUM! | -16.4761 | -0.055628 | #NUM! | 0.13074 | -0.31986 | 0.17783 | -0.36695 | 0.27227 | -0.46139 | 0.33008 | -0.5192 | 0.65765 | -0.84677 | 1.1575 | -1.3466
silty | Institutional |  | 0 | 0 | 0 |  | 4 | -0.1913 | #NUM! | #NUM! | -16.6662 | 0.17439 | #NUM! | 0.18255 | -0.37386 | 0.2483 | -0.4396 | 0.38017 | -0.57147 | 0.46089 | -0.6522 | 0.91827 | -1.1096 | 1.6162 | -1.8075
silty | Low den resid |  | 0 | 0 | 0 |  | 4.5 | -0.193 | #NUM! | #NUM! | -16.8141 | 0.37105 | #NUM! | 0.24506 | -0.43806 | 0.33332 | -0.52632 | 0.51033 | -0.70333 | 0.6187 | -0.8117 | 1.2327 | -1.4257 | 2.1695 | -2.3625
silty | Med den resid |  | 0 | 0 | 0 |  | 5 | -0.19436 | #NUM! | #NUM! | -16.9324 | 0.5452 | #NUM! | 0.31891 | -0.51326 | 0.43376 | -0.62812 | 0.66412 | -0.85848 | 0.80515 | -0.99951 | 1.6042 | -1.7985 | 2.8233 | -3.0177
silty | High den resid |  | 0 | 0 | 0 |  | 6 | -0.19639 | #NUM! | #NUM! | -17.1099 | 0.8504 | #NUM! | 0.50306 | -0.69945 | 0.68424 | -0.88063 | 1.0476 | -1.244 | 1.2701 | -1.4665 | 2.5305 | -2.7269 | 4.4536 | -4.65
silty | Open space/parks |  | 0 | 0 | 0 |  | 7 | -0.19785 | #NUM! | #NUM! | -17.2367 | 1.1205 | #NUM! | 0.73958 | -0.93743 | 1.0059 | -1.2038 | 1.5402 | -1.738 | 1.8672 | -2.0651 | 3.7202 | -3.9181 | 6.5476 | -6.7454
silty | Construction sites |  | 0 | 0 | 0 |  | 8 | -0.19894 | #NUM! | #NUM! | -17.3317 | 1.37 | #NUM! | 1.0327 | -1.2316 | 1.4046 | -1.6035 | 2.1505 | -2.3495 | 2.6072 | -2.8061 | 5.1945 | -5.3935 | 9.1424 | -9.3413
clayey | Totally paved areas |  | 0 | 0 | 0 |  | 9 | -0.19979 | #NUM! | #NUM! | -17.4057 | 1.6064 | #NUM! | 1.3863 | -1.5861 | 1.8855 | -2.0853 | 2.8869 | -3.0867 | 3.4999 | -3.6997 | 6.9731 | -7.1729 | 12.2727 | -12.4725
clayey | Freeways |  | 0 | 0 | 0 |  | 10 | -0.20047 | #NUM! | #NUM! | -17.4648 | 1.8341 | #NUM! | 1.804 | -2.0045 | 2.4537 | -2.6542 | 3.7568 | -3.9573 | 4.5546 | -4.7551 | 9.0745 | -9.275 | 15.9711 | -16.1716
clayey | Industrial |  | 0 | 0 | 0
clayey | Commercial |  | 0 | 0 | 0
clayey | Institutional |  | 0 | 0 | 0
clayey | Low den resid |  | 0 | 0 | 0
clayey | Med den resid |  | 0 | 0 | 0
clayey | High den resid |  | 0 | 0 | 0
clayey | Open space/parks |  | 0 | 0 | 0
clayey | Construction sites |  | 0 | 0 | 0
|  | Total: | 1 | 0.011 | 0.030556
|  | % of area needed as pond: |  |  | runoff depth for 1.25 in rain (5 um control)
Land Use |  | 5 um | 20 um |  | sandy soil | silty soil | clayey soil
Totally paved areas |  | 3 | 1.1 |  | 1.1 | 1.1 | 1.1
Freeways |  | 2.8 | 1 |  | 0.35 | 0.38 | 0.4
Industrial |  | 2 | 0.8 |  | 0.85 | 0.88 | 0.9
Commercial |  | 1.7 | 0.6 |  | 0.75 | 0.8 | 0.85
Institutional |  | 1.7 | 0.6 |  | 0.2 | 0.3 | 0.4
low den resid |  | 0.6 | 0.2 |  | 0.1 | 0.2 | 0.3
med den resid |  | 0.8 | 0.3 |  | 0.15 | 0.25 | 0.35
high den resid |  | 1.5 | 0.5 |  | 0.2 | 0.3 | 0.4
Open space/parks |  | 0.6 | 0.2 |  | 0.5 | 0.55 | 0.6
Construction sites |  | 1.5 | 0.5 |  | 0.5 | 0.55 | 0.6
(use 1/3 of these volumes for 20 um control)
The above areas and volumes should be reduced if upland infiltration devices reduce the volume of runoff to the sediment pond.
These design suggestions are for the "live" storage component of a wet detention pond. The surface area is the normal pond area which should be at least 3 feet deep, plus additional depth for sediment storage.
|  |  | 5 um | 20 um
settling velocity (ft3/sec/ft2): |  |  | 0.00013 | 0.002